EXISTING SYSTEM:

There is a myriad of imaging modalities, and the frequency of their use is increasing. Smith-Bindman et al. [2] looked at imaging use from 1996 to 2010 across six large integrated healthcare systems in the United States, involving 30.9 million imaging examinations. The authors found that over the study period, CT, MRI and PET usage increased 7.8%, 10% and 57% respectively.

The symbolic AI paradigm of the 1970s led to the development of rule-based, expert systems. One early implementation in medicine was the MYCIN system by Shortliffe [3], which suggested different regimes of antibiotic therapies for patients. Parallel to these developments, AI algorithms moved from heuristics-based techniques to manual, handcrafted feature extraction techniques. and then to supervised learning techniques. Unsupervised machine learning methods

are also being researched, but the majority of the algorithms from 2015-2017 in the published literature have employed supervised learning methods,

PROPOSED SYSTEM:

Currently, CNNs are the most researched machine learning algorithms in medical image analysis [4]. The reason for this is that CNNs preserve spatial relationships when _ltering input images. As mentioned, spatial relationships are of crucial importance in radiology, for example, in how the edge of a bone joins with muscle, or where normal lung tissue interfaces with cancerous tissue. As shown in Fig. 2., a CNN takes an input image of raw pixels, and transforms it via Convolutional Layers, Recti_ed Linear Unit (RELU) Layers and Pooling Layers. This feeds into a _nal Fully Connected Layer which assigns class scores or probabilities, thus classifying the input into the class with the highest probability.

Detection, sometimes known as Computer-Aided Detection (CADe) is a keen area of study as missing a lesion on a scan can have drastic consequences for both the patient and the clinician. The task for the Kaggle Data Science Bowl of 2017 [64] involved the detection of cancerous lung nodules on CT lung scans. Approximately 2000 CT scans were released for the competition and the winner Fangzhou [65] achieved a logarithmic loss score of 0.399. Their solution used a 3-D CNN inspired by U-Net architecture [19] to isolate local patches _rst for nodule detection. Then this output was fed into a second stage consisting of 2 fully connected layers for classi_cation of cancer probability. Shin et al. [24] evaluated _ve well-known CNN architectures in detecting thoracoabdominal lymph nodes and Interstitial lung disease on CT scans. Detecting lymph nodes is important as they can be a marker of infection or cancer. They achieved a mediastinal lymph node detection AUC score of 0.95 with a sensitivity of 85% using GoogLeNet, which was state of the art. They also documented the bene_ts of transfer learning, and the use of deep learning architectures of up to 22 layers, as opposed to fewer layers which was the norm in medical image analysis. Overfeat was a CNN pre-trained on natural images that won the ILSVRC 2013 localization task [66]. Ciompi et al. [67] applied Overfeat to 2-dimensional slices of CT lung scans oriented in the coronal, axial and sagittal planes, to predict

the presence of nodules within and around lung _ssures. They combined this approach with simple SVM and RF binary classi_ers, as well as a Bag of Frequencies [68], a novel 3-dimensional descriptor of their own invention.